## Cost Breakdown
ANNEX D
Name of Bidder:
Name of Project: |  | BIDDING OF FIT-OUT AND REPAIR FOR THE SUBIC–CLARK RAILWAY PROJECT MANAGEMENT OFFICE VIA NEGOTIATED PROCUREMENT
ABC: |  | Php2,850,000.00
COST BREAKDOWN
PLAN SHEET NO. REFERENCES | DESCRIPTION/ SPECIFICATIONS |  |  |  | UNIT | QTY | MATERIALS |  | LABOR
(ANNEX V.ii) | [6 empty] | UNIT COST | TOTAL COST | UNIT COST | TOTAL COST
1. FIT-OUT AND REPAIR OF SCRP-PMO
| A | MOBILIZATION / DEMOBILIZATION
| B | CONSTRUCTION / REPAIR WORKS
A-01 | 1 | DEMOLITION AND RELOCATION OF AFFECTED STRUCTURES |  |  | LOT | 1
| 2 | RE-PLASTERING |  |  | SQ.M. | 250
A-09, A-12, P-01, P-02 | 3 | PLUMBING WORKS and WATERPROOFING
|  | 3.1 Existing Toilets (2) |  |  | LOT | 1
|  | 3.2 Pantry |  |  | LOT | 1
| 4 | DOORS, WINDOWS and MIRRORS
A-06 |  | 4.1 | Doors |  | LOT | 1
A-10 |  | 4.2 | Windows |  | SQ.M. | 202
A-10 |  | 4.3 | Mirror |  | LOT | 1
| 5 | FINISHES
|  | 5.1 | Ceiling |  | SQ.M. | 40.9
A-05, A-11 |  | 5.2 | Tile Works
|  |  | 5.2.1 Working Area |  | SQ.M. | 235
5.2.2 Restrooms
|  |  |  | Installation floor ceramic tiles | SQ.M. | 12.42
|  |  |  | Installation of wall ceramic tiles | SQ.M. | 49.44
A-02 |  | 5.3 | Drywall Partition |  | SQ.M. | 126.2
A-03 |  | 5.4 | Low Panel Partition |  | SET | 1
A-04 |  | 5.5 | Glass Partition |  | SQ.FT. | 121.11
A-07 |  | 5.6 | Countertop |  | SQ.M. | 18.75
A-07 |  | 5.7 | Kitchen Cabinet |  | LOT | 1
E-01, E-02 | 6 | ELECTRICAL WORKS
|  | Supply and installation of electrical lightings fixtures, switches, power outlets etc. |  |  | LOT | 1
|  | Supply and installation of Panel Board and Circuit breaker |  |  | LOT | 1
|  | Supply and installation of Exhaust fans |  |  | PIECE | 3
A-08 | 7 | PAINTING WORKS
|  | 7.1 | Interior: Repainting of walls, columns and ceiling, shall be two (2) coatings |  | SQ.M. | 365.9
|  | 7.2 | Exterior: Repainting of walls, one (1) coating, latex paint |  | SQ.M. | 288
E-05 | C | AIR-CONDITIONING SYSTEMS (ACS) |  |  | LOT | 1
| 1 | AIRCON 2.0 Wall mounted Split-type, Inverter |  |  | UNIT | 10
E-04 | D | FIRE DETECTION AND ALARM SYSTEM (FDAS) |  |  | LOT | 1
E-03 | E | CONDUIT LAY-OUT FOR AUDIO-VISUAL SYSTEM |  |  | LOT | 1
| F | OTHER EXPENSES |  |  | LOT | 1
SUB-TOTAL
TOTAL (INCLUSIVE OF ALL APPLICABLE TAXES AND FEES)
BIDDER’S AUTHORIZED REPRESENTATIVE:
SIGNATURE OVER PRINTED NAME
Fit-out and Repair of the Subic-Clark Railway Project Management Office